STATIONARY SCAFFOLD INSPECTION CHECK LIST

Project: _____________________________________________________________________

Address: ____________________________________________________________________

Contractor: __________________________________________________________________

Date of Inspection: ____________________________________________________________

# Action Required

|  | Yes | No | Action/Comments |
| --- | --- | --- | --- |
| 1. Are scaffold components and planking in safe condition for use and is plank graded for scaffold use? |  |  |  |
| 2. Is the frame spacing and sill size capable of carrying intended loadings? |  |  |  |
| 3. Have competent persons been in charge of erection? |  |  |  |
| 4. Are sills properly placed and adequate size? |  |  |  |
| 5. Have screw jacks been used to level and plumb scaffold instead of unstable objects such as concrete blocks, loose bricks, etc.? |  |  |  |
| 6. Are base plates and/or screw jacks in firm contact with sills and frame? |  |  |  |
| 7. Is scaffold level and plumb? |  |  |  |
| 8. Are all scaffold legs braced with braces properly attached. |  |  |  |
| 9. Is guard railing in place on all open sides and ends? |  |  |  |
| 10. Has proper access been provided? |  |  |  |
| 11. Has overhead protection or wire screening been provided where necessary? |  |  |  |
| 12. Has scaffold been tied to structure at least every 30' in length and 26' in height? (See rule 14.) |  |  |  |
| 13. Have free standing towers been guyed or tied every 26' in height? (See rule 16.) |  |  |  |
| 14. Have brackets and accessories been properly placed: Brackets? |  |  |  |
| Putlogs? |  |  |  |
| Tube & Clamp? |  |  |  |
| All nuts & bolts Tightened? |  |  |  |
|  | Yes | No | Action/Comments |
| 15. Is scaffold free of makeshift devices or ladders to increase height? |  |  |  |
| 16. Are working level platforms fully planked between guard rails. |  |  |  |
| 17. Does plank have minimum 12" overlap and extend 6" beyond supports? |  |  |  |
| 18. Are toeboards installed properly. |  |  |  |
| 19. Have hazardous conditions been provided for: Power Lines? |  |  |  |
| Wind Loading? |  |  |  |
| Possible washout of footings? |  |  |  |
| Uplift and overturning moments due to placement of brackets, putlogs, or other causes? |  |  |  |

(ASSOCIATION NAME HERE)

ROLLING TOWER INSPECTION CHECKLIST

Project: _____________________________________________________________________

Address: ____________________________________________________________________

Contractor: __________________________________________________________________

Date of Inspection: ____________________________________________________________

Action Required

|  | Yes | No | Action/Commments |
| --- | --- | --- | --- |
| 1. Are scaffold components and planking in safe condition for use? |  |  |  |
| 2. Have competent person been in charge of erection? |  |  |  |
| 3. Is tower level and plumb? |  |  |  |
| 4. Is tower height less than 4 times the minimum base width? (3 time in California.) |  |  |  |
| 5. Are casters of proper size with effective locking devices? |  |  |  |
| 6. Are screw jacks extended less than 12"? |  |  |  |
| 7. Are casters and all frames locked together? |  |  |  |
| 8. Is tower fully braced on both sides? |  |  |  |
| 9. Has horizontal diagonal bracing been positioned properly at base and intermediate levels of 20'? (See rule 41.) |  |  |  |
| 10. Has proper guard railing been provided? |  |  |  |
| 11. Have stair units or ladders and guard rails gates been provided? |  |  |  |
| 12. Is platform fully planked and are toeboards provided where necessary? |  |  |  |
| 13. Are planks secured to prevent displacement or uplift? |  |  |  |
| 14. HAVE PERSONNEL BEEN INSTRUCTED IN THE SAFE USE OF THE EQUIPMENT? |  |  |  |