## POLICY ON FIRE RISK ASSESSMENTS

1 Introduction

1.1 The Fire Precautions (Workplace) Regulations, require the Company to carry out fire risk assessments of all buildings in which people are employed to work.

2 STEPS INVOLVED IN THE FIRE RISK ASSESSMENT

2.1 For fire risk assessments, there are five steps that the assessor must go through:

Step 1:

Identification of potential fire hazards in the workplace.

Step 2:

Deciding who might be in danger, e.g. employees, students, visitors, in the event of a fire in the workplace or whilst trying to escape from it.

Step 3:

Evaluation of risks arising from the hazards and deciding whether the existing fire precautions are adequate or whether more should be done to eliminate (or minimize) the hazard or control the risks (e.g. by improving the fire precautions).

Step 4:

Recording the findings and details of the action taken as a result. Communicating this to the occupants of the building.

Step 5:

Keeping the assessment under review and revising it when necessary.

2.2 Step 1: Fire hazards

A hazard is something that has the potential to cause harm. The assessor must identify any fire hazards commonly found in workplaces. Some of the commonly found hazards will be

- Flammable liquids stored

- Combustible materials allowed to accumulate

- Portable or radiant heaters in use

- Tasks which introduce ignitions sources into the workplace

- Smoking

- Plastic or rubber materials, especially in the form of foam, used or stored in the workplace

- 'Hot' work, such as welding, grinding, brazing, etc.

2.3 Step 2: People at Risk

Risk is the likelihood of a hazard actually causing harm. If there is a fire, the main priority is to ensure that all persons reach a place of safety quickly. Putting the fire out is secondary to this because the greatest danger from fire in a workplace is the spread of the fire, heat and smoke through it. If a workplace does not have adequate means of detecting and warning, or adequate means of escape, a fire can trap persons or they may be overcome by heat and smoke before they can leave the workplace.

The assessor needs to identify who may be at risk if there is a fire, how they will be warned and how they will escape. The assessor must identify where people are working, whether at permanent workstations or occasional ones, and consider who else might be at risk, such as visitors, contractors, service engineers, etc., and where these people are likely to be found.

2.4 Step 3: Evaluation of Risks

Steps 1 and 2 will have identified what the hazards are and who may be at risk because of them. The assessor now needs to evaluate the risk and decide whether enough has been done to reduce it or whether more needs to be done by considering:

- The chance of a fire occurring and whether the sources of ignition can be reduced or the potential fuel for a fire minimized

- The fire precautions that are already in place and whether they are sufficient for the remaining risks and will ensure everyone is warned in case of fire

- The means people can use to make their escape safely (or put the fire out if it is safe for them to do so)

2.5 Step 4: Recording the Findings and Actions

The assessor must record the significant findings of the assessment together with the details of any persons identified as being at particular risk.

2.6 Step 5: Reviewing and Revising

From time to time, changes in the workplace will be introduced which have an effect on fire risks and precautions, e.g. changes to the work processes, furniture, plant, machinery, substances, buildings, or the number of persons likely to be present in the workplace. Any of these could lead to new hazards or increased risk. If there is any significant change, the assessment will need to be reviewed in the light of the new hazard or risk.

Structural alterations to buildings, or new building work, will normally be notified to the Safety Office, allowing a review to be carried out.

Unless significant changes occur in a building, a review of the fire risk assessment will be carried out after a maximum of 5 years.

************************************************************************