# PRE-START CHECKLIST

This list serves as a checklist on all items that must be in place before any works commence on site

| Item | Description | Yes | No | Comment |
| --- | --- | --- | --- | --- |
| 1 | Tender/Contract Sum agreed? |  |  |  |
| 2 | Pre Tender Health & Safety Plan issued? |  |  |  |
| 3 | Health & Safety Executive notified of project using Form 10? |  |  |  |
| 4 | Contract issued and executed by both parties? |  |  |  |
| 5 | Contractor Health & Safety Plan prepared and approved? |  |  |  |
| 6 | Program agreed? |  |  |  |
| 7 | Guarantee Bond in place (if required)? |  |  |  |
| 8 | Parent Company Guarantee in place (if required)? |  |  |  |
| 9 | Insurance submitted and approved? |  |  |  |
| 10 | Tax Exemption Certificate submitted and approved? |  |  |  |
| 11 | SCH/Contractor Health & Safety warranty signed by both parties? |  |  |  |
| 12 | Hotel Manager fully briefed? |  |  |  |
| 13 | FFE orders issued and delivery dates confirmed? |  |  |  |
| 14 | Room layout design and configuration agreed? |  |  |  |
| 15 | Working practices agreed and minuted? |  |  |  |

| Hotel: |  |
| --- | --- |
| Room numbers/Area of Hotel: |  |
| Contractor: |  |
| Date: |  |
| Signed for Contractor: |  |
| Signed for Hotel: |  |

# DAILY CHECK PROCEDURE AT END OF EACH WORKING DAY

The following checklist is to be completed at the end of the Contractors operations each day by Hotel Management and Contractor.

| Item | Description | Yes | No | Comment |
| --- | --- | --- | --- | --- |
| 1 | All fire doors operational? |  |  |  |
| 2 | All heat/smoke detectors working and uncovered? |  |  |  |
| 3 | All duct doors/hatches locked? |  |  |  |
| 4 | All fire escape routes clean and clear? |  |  |  |
| 5 | Temporary and permanent emergency lighting working? |  |  |  |
| 6 | All electrical power and other tools disconnected and locked away? |  |  |  |
| 7 | All debris/rubbish/material removed? |  |  |  |
| 8 | Fire alarm installation working? |  |  |  |
| 9 | All exit signs fully operational? |  |  |  |
| 10 | Fire book checked and signed? |  |  |  |
| 11 | All contractor workers off site and works completed for the day? |  |  |  |
| 12 | “Apologizes” and “Danger Men at Work” signs displayed? |  |  |  |
| 13 | All apparatus through fire compartmentation walls made good (temp)? |  |  |  |
| 14 | All fire fighting apparatus working and in position? |  |  |  |

| Hotel: |  |
| --- | --- |
| Room numbers/Area of Hotel: |  |
| Contractor: |  |
| Date: |  |
| Signed for Contractor: |  |
| Signed for Hotel: |  |

# HANDOVER CHECKLIST FOR REFURBISHED HOTEL ROOMS AND CORRIDORS

The following checklist is to be completed by Hotel Management and Contractor.

| Item | Description | Yes | No | Comment |
| --- | --- | --- | --- | --- |
| 1 | Fire Alarms checked/tested? (Commissioning certificate required) |  |  |  |
| 2 | Smoke/heat detectors checked/tested? (Commissioning certificate required) |  |  |  |
| 3 | All fire doors operational? |  |  |  |
| 4 | Fire notices fixed to back of entrance door in each room? |  |  |  |
| 5 | All statutory fire signs in place and operational? |  |  |  |
| 6 | Emergency lighting checked/tested? (Commissioning certificate required) |  |  |  |
| 7 | IEC Electrical test certificates issued? |  |  |  |
| 8 | All mechanical installations checked and tested? |  |  |  |
| 9 | All phones checked and tested? |  |  |  |
| 10 | Room lighting checked? |  |  |  |
| 11 | Snagging completed to standard to allow room to be let/used? |  |  |  |
| 12 | Area being handed over to hotel is clean and ready for letting? |  |  |  |
| 13 | All FF&E supplied and in position? |  |  |  |
| 14 | All fire escape routes clean and clear? |  |  |  |
| 15 | Hotel Management advised of handover? |  |  |  |

| Hotel: |  |
| --- | --- |
| Room numbers/Area of Hotel: |  |

| ACCEPTANCE OR NON-ACCEPTANCE (delete as necessary) |
| --- |
| Contractor: |  |
| Date: |  |
| Signed for Contractor: |  |
| Signed for Hotel: |  |