Date 27 / 3 / 2014

|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Serial.No.** | **Date** | **Extinguisher Type (Powder, CO2,**  **Foam Etc)** | **Capacity** | **Tag No** | **Location** | **Condition of body** | **Condition of discharge tube** | **Is safety pin in location?** | **Is pressure gauge shows enough pressure?** | **Is inspection tag in place?** | **Is access free from obstruction?** | **Date of Service done by third party** | **Remarks/**  **Corrective Action Taken** |
| 1 | 27/3/2014 | Powder | 6 Kg |  | **ATCCO.** Kitchen | √ | √ | √ | √ | X | √ | √ |  |
| 2 | 27/3/2014 | Powder | 6 Kg |  | ATCCO. AccountantOffice |  |  |  |  |  |  |  |  |
| 3 | 27/3/2014 | Powder | 6 Kg |  | Project Manager Office |  |  |  |  |  |  |  |  |
| 4 | 27/3/2014 | Powder | 6 Kg |  | Vestas Office 1 |  |  |  |  |  |  |  |  |
| 5 | 27/3/2014 | Powder | 6 Kg |  | Vestas Office 2 |  |  |  |  |  |  |  |  |
| 6 | 27/3/2014 | Powder | 6 Kg |  |  |  |  |  |  |  |  |  |  |
| 7 | 27/3/2014 | Powder | 6 Kg |  |  |  |  |  |  |  |  |  |  |
| 8 | 27/3/2014 | Powder | 6 Kg |  |  |  |  |  |  |  |  |  |  |
| 9 | 27/3/2014 | Powder | 6 Kg |  |  |  |  |  |  |  |  |  |  |
| 10 | 27/3/2014 | Powder | 6 Kg |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |

(To be inspected by safety advisor every month) **FR562**

**Name / Signed: ... ... ... ... ... ... ... ... ... ... ... ... ... ... ... ... ... Date:... ... / ... ... / ... ... ... ...**