# SCAFFOLD INSPECTION AND TAGGING PROCEDURES (11/21/01)

- Red scaffold tag (plastic holder) to be built into scaffold, near each point of access, by scaffold craftsmen as they erect the scaffold.

- Scaffold Supervisor inspects scaffold as soon as possible after erection is complete.

- Scaffold Supervisor fills in and signs “Scaffold Field Inspection Checklist” and gives it to Work Permit Issuer’s unit, who will keep it until the scaffold has been taken down.

- If Scaffold Supervisor decides scaffold is safe to use, he will fill in and sign green (“Passed Inspection”) or yellow (“Full Body Harness Required”) scaffold tag(s), as applicable. Scaffold Supervisor also fills in the “Scaffold Location or #”, and specifies the appropriate load rating and maximum number of working levels and total number of planked levels allowed. See SSH Tables II.9.7 and II.9.8.

- YELLOW scaffold tag(s) are to be used for any scaffold with platform(s) which physically cannot be completely erected (i.e., interference with equipment or structure prevents installation of all guardrails or planks). Use of yellow tag(s) does not permit intentional erection of incomplete scaffolds. In no case shall a scaffold that is missing members required for structural stability (i.e., bearers, runners, posts, ties, or braces) be tagged with yellow or green scaffold tag(s).

- If scaffold is equal to or less than 6m (20 ft) high, or not a “special scaffold”:

  - Scaffold Supervisor to note on the tag(s) the date next inspection is due, and insert the signed GREEN or YELLOW tag(s) into the holder(s). The “date of next inspection” shall not be more than 2 weeks ahead.

- If scaffold is more than 6m (20 ft) high or is a “special scaffold”:

  - Scaffold Supervisor will leave “date of next inspection” blank and give signed green or yellow tag(s) to Scaffold Inspector.

  - Scaffold Inspector inspects scaffold, as soon as possible after the Scaffold Supervisor’s inspection.

  - Scaffold Inspector also fills in and signs a separate “Scaffold Field Inspection Checklist” and gives it to Work Permit Issuer’s unit, who will keep it until the scaffold is taken down

  - If Scaffold Inspector agrees that the scaffold is safe to use, he will fill in and sign the GREEN or YELLOW tag(s) that were previously given to him by the Scaffold Supervisor.

  - Scaffold Inspector to note on the tag(s) the date next inspection is due, and insert the signed GREEN or YELLOW tag(s) into the holder(s). The “date of next inspection” shall not be more than 2 weeks ahead.

- At least every two weeks, each scaffold must be re-inspected by the Scaffold Supervisor (and Scaffold Inspector if required), using the above procedure.

- Upon completion of the four inspection columns on the green tag, the used tag is to be filed and a fresh green tag is to be filled in and inserted into the holder, using the above procedure.