SCAFFOLDING REQUIREMENTS

PURPOSE

Due to the large number of serious accidents associated with scaffolded work surfaces it is the intent of the University to provide maximum protection to all employees by the issuance of these requirements.

SCOPE

These requirements are to apply to all employees that work on scaffold work surfaces.  All scaffolds erected on University property shall be erected in accordance with the requirements of this section.

GENERAL

The footing or anchorage for scaffolds shall be sound, rigid, and capable of carrying the maximum intended load without settling or displacement.  Unstable objects such as barrels, boxes, loose brick, or concrete blocks, shall not be used to support scaffolds or planks.

No scaffold shall be erected, moved, dismantled, or altered except under the supervision of competent persons or as requested for corrective reasons by the health and safety officer.

Guardrails and toe boards shall be installed on all open sides and ends of platforms more than 10 feet above the ground or floor, except needle beam scaffolds and floats.  Scaffolds 4 feet to 10 feet in height having a minimum horizontal dimension in either direction of less than 45 inches, shall have standard guardrails installed on all open sides and ends of the platform.

Guardrails must be 2 X 4 inches, or the equivalent, approximately 42 inches high, with a midrail, when required.  Supports must be at intervals not to exceed 8 feet.  Toe board and the guardrail, extending along the entire opening, consisting of No. 18 gauge U.S. standard wire 1/2 inch mesh, or the equivalent.

Scaffolds and their components must be capable of supporting without failure at least 4 times the maximum intended load.

Any scaffold including accessories such as braces, brackets, trusses, screw legs, ladders, etc., damaged or weakened from any cause must be immediately repaired or replaced.

All load-carrying timber members of scaffold framing shall be a minimum of 1,500 fiber (Stress Grade) construction grade lumber.

All planking must be Scaffold Grades, or equivalent, as recognized by approved grading rules for the species of wood used.  The maximum permissible span for 2 X 10 inch or wider planks is shown in the following:

Full thickness	Nominal

undressed	thickness				 lumber		lumber

Working load (p.s.f.)	25   50   75         25    50

Permissible span (ft.)	10     8	  6	  8      6

The maximum permissible span for 1-1/4 X 9 inch or wider plank of full thickness shall be 4 feet with medium duty loading of 50 p.s.f.

All planking or platforms must be overlapped (minimum 12 inches), or secured from movement.

An access ladder or equivalent safe access must be provided.

Scaffold planks must extend over their end supports not less than 6 inches nor more than 18 inches.

The poles, legs, or uprights of scaffolds must be plumb, and securely and rigidly braced to prevent swaying and displacement.

Overhead protection must be provided for men on a scaffold exposed to  overhead hazards.

Slippery conditions on scaffolds shall be eliminated immediately after they occur.

No welding, burning, riveting or open flame work shall be performed on any staging suspended by means of fiber or synthetic rope.  Only treated or protected fiber or synthetic ropes shall be used for or near any work involving the use of corrosive substances or chemicals.

Wire synthetic, or fiber rope used for scaffold suspension shall be capable of supporting at least 6 times the rated load.

WOOD SCAFFOLDING

Lumber - All lumber used in constructing ramps, platforms, staging, scaffolding, etc., must be of good quality, seasoned and straight grained, free of large loose or dead knots and knots in groups, checks, splits and other defects which tend to decrease the structural strength.

Nails - No nail should be subjected to direct pull.  A minimum of four nails per joint is recommended.  The size of the nail used will depend upon the load that must be carried by the joint and the thickness of the material being joined, one inch stock requiring 8d nails, two inch stock requiring 16d nails, etc.

TUBULAR STEEL SCAFFOLDING

Steel scaffolding should be erected and used in accordance with manufacturer's recommendations.  Proper seating and locking of all connections, using the corrective devices, is of extreme importance.

A light duty tube and coupler scaffold shall have all posts, bearers, runners, and bracing of nominal 2 inch O.D. steel tubing.  The posts shall be spaced no more than 6 feet apart by 10 feet along the length of the scaffold.  Other structural metals when used must be designed to carry an equivalent load.  No dissimilar metals shall be used together on any tube coupler scaffold.

A medium duty tube and coupler scaffold shall have all posts, runners, and bracing of nominal 2 inch O.D. steel tubing.  Posts spaced not more than 6 feet apart by 8 feet along the length of the scaffold must be bearers of nominal 2 1/2 O.D. steel tubing.

A heavy duty tube and coupler scaffold shall have all posts, runners, and bracing of nominal 2 inch O.D.  Steel tubing, with the posts spaced not more than 6 feet by 6 feet 6 inches.

Drawings and specifications of all tube and coupler scaffolds above the limitations must be  designed by a qualified engineer competent in this field.

Posts must be accurately spaced, erected on suitable bases, and maintained plumb.

Runners shall be erected along the length of the scaffold, located on both the inside and the outside posts at even heights.  Runners shall be interlocked to the inside and the outside posts at even heights.  Runners shall be interlocked to form continuous lengths and coupled to each post.  The bottom runners must be located as close to the base as possible.  Runners must be placed not more than 6 feet-6 inches on centers.

Bearers must be at least 4 inches but not more than 12 inches longer than the post spacing or running spacing.

MANUALLY PROPELLED MOBILE SCAFFOLDS

Cross bracing must be installed across the width of the scaffold at least every third set of posts horizontally and every fourth runner vertically.  Such bracing must extend diagonally from the inner and outer runners upward to the next outer and inner runners.

Longitudinal diagonal bracing on the inner and outer rows of poles shall be installed at approximately a 45 degree angle from near the base of the first outer post upward to the extreme top of the scaffold.  Where the longitudinal length of the scaffold permits, such bracing shall be duplicated beginning at every fifth post.  In a similar manner, longitudinal diagonal bracing shall also be installed from the last post extending back and upward toward the first post.  Where conditions preclude the attachment of the bracing to the posts, it may be attached to the runners.

The entire scaffold shall be tied to and securely braced against the building at intervals not to exceed 30 feet horizontally and 26 feet vertically.

Guardrails made of lumber not less than 2 x 4 inches (or other material providing equivalent protection), approximately 42 inches high, with a midrail of 1 x 6 inch lumber (or other material providing equivalent protection), and toe boards shall be installed at all open sides and ends on all scaffolds more than 10 feet above the ground or floor.  Toe boards shall be a minimum of 4 inches in height.  Wire mesh shall be installed when needed.