| COMPETENT PERSON SCAFFOLD CHECKLIST (2) Frequency: Weekly or after Inclement Weather |
| --- |
| NO | QUESTION | YES | NO | COMMENT |
| 1. | Are scaffolds and scaffold components inspected before each work shift by a competent person? |  |  |  |
| 2. | Have employees who erect, disassemble, move, operate, repair, maintain, or inspect the scaffold been trained by a competent person to recognize the hazards associated with this type of scaffold and the performance of their duties related to this scaffold? |  |  |  |
| 3. | Have employees who use the scaffold been trained by a qualified person to recognize the hazards associated it with this scaffold and know the performance of their duties relating to it? |  |  |  |
| 4. | Is the maximum load capacity of this scaffold known and communicated to all employees? |  |  |  |
| 5. | Is the load on the scaffold (including point loading) within the maximum load capacity of this particular scaffold? |  |  |  |
| 6. | Are the scaffold plumb, square, and level? |  |  |  |
| 7. | Is the scaffold on base plates and are mudsills level, sound, and rigid? |  |  |  |
| 8. | Is there safe access to all scaffold platforms? |  |  |  |
| 9. | Are all working platforms fully planked? |  |  |  |
| 10. | Do planks extend at least 6 inches and no more than 12 inches over the supports? |  |  |  |
| 11. | Are the planks in good condition and free of visible defects? |  |  |  |
| 12. | Does the scaffold have all required guardrails and toe boards? |  |  |  |
| 13. | Are 4:1 (height to width) scaffolds secured to a building or structure as required? |  |  |  |
| NAME OF APPOINTED COMPETENT PERSON: | SIGNATURE: | DATE: |