CONSTRUCTION INDUSTRY REGULATIONS

Subpart L – Scaffolds

29 CFR 1926.450 – 29 CFR 1926.454

##### INTRODUCTION

An estimated 2.3 million construction workers deal with scaffolding each year. More than 9.500 workers are injured and 80 are killed in scaffolding – related accidents.

Both the OSHA General Industry Safety Standards and constructions safety standards include lengthly requirements for scaffolding.

DEFINITIONS:

Brace:	A tie that holds one scaffold member in a fixed position with respect to another member.

Coupler:	A device for locking together the component parts of a tubular metal scaffold which shall be designed and used to safety support the maximum intended loads.

Light duty scaffold:	A scaffold designed and constructed to carry a working load not to exceed 25 pounds per square foot.

Medium duty scaffold:	A scaffold designed and constructed to carry a working load not to exceed 50 pounds per square foot.

# Heavy duty scaffold:	A scaffold designed and constructed to carry a working load not to exceed 75 pounds per square foot.

Guard-rail:	A rail secured to uprights and erected along the exposed sides and ends of platforms.

Maximum intended load:

The total of all loads including the working load, the weight of the scaffold, and such other loads as may be reasonably anticipated.

Toeboard:	A barrier secured along the sides and ends of a platform, to guard against the falling of material.

### TYPES OF SCAFFOLDING

## Frame Scaffolding

## The primary steel scaffolding system. It is primarily for rectangular jobs where access is not too restricted. Frame scaffolding is very popular with masons, plasterers, etc; and is also used extensively as rolling towers for internal work (electricians, heating, air conditioning, painting, etc.) Frame scaffolding is relatively simple and fast to erect, provided the surface is level, and the access is not restricted.

## Tube and Clamp

To accommodate jobs too difficult for frame scaffolding because of obstructions, limited access, and the need to scaffold non-rectangular shapes. In many cases, tube and clamp is used together with frames.

Tube and clamp is simply a steel version of the old access scaffold which historically were made from lumber.

Tube and clamp requires much greater expertise to erect, and takes much longer to erect than frames. Most popular in industrial applications such as oil refineries.

## Modular System Scaffolds

Modular systems, like tube and clamp, are used for applications where frames cannot be used or where it is not efficient to use frames (limited access, obstructions, uneven surface, non-rectangular shapes). The advantage that modular systems have over tube and clamp is that they do not require the high degree of expertise that tube and clamp does. With modular systems, the location of the connections are fixed. As such, once the base is set, the erector does not have to worry about the location of connections (as he would with tube and clamp), and his erection time speeds up significantly.

## Rolling Scaffolds

Rolling towers are popular with most trades – painters, electricians, heating and ventilating men and maintenance people. Because these trades and specialists must move around in an area.

When the height to minimum base ratio of the scaffold exceeds 4 to 1 stabilizers are required.

Stabilizers may be used with castors or adjustable screws with base plates.

Cross bracing must be used with the stabilizer legs.

Stabilizer legs rotate 90 degrees to facilitate use for moving through

narrow areas.

Final Inspection of Rolling Towers:

- Check to see that the platform height does not exceed four (4) times the smallest base dimension unless the tower is properly guyed or otherwise stabilized.

- Check to see that, if adjusting screws have been used, they are not extended more than 12”.

- Check to make sure the caster brakes are in good working condition and are properly applied when the tower is not being moved.

- Inspect to make sure horizontal diagonal bracing (plan bracing) has been placed near the bottom, top, and at 20’ intervals measured from the rolling surface.

- Cross bracing has been installed on both sides of every lift.

- Check the area in which the tower is to be used to ensure there are no obstructions either in, on, or above the floor which will interfere with the proper and safe use of the rolling tower.

- Check for guardrails and toeboards.

- Check to see that all planking is properly installed.

- Check that the load on the caster does not exceed the capacity of the caster.

- Check that access ladder is correctly installed.

A.	General Requirements for All Scaffolds:

- Scaffolds shall be furnished and erected for persons engaged in work that cannot be done safely from the ground or from solid construction.

- The footing or anchorage for scaffolds shall be sound, rigid and capable of carrying the maximum intended load without settling or displacement. Unstable objects such as barrels, boxes, loose brick, concrete blocks shall not be used to support scaffolds or planks.

- Scaffolds and their components shall be capable of supporting without failure at least four times the maximum intended load.

- Any scaffold damaged or weakened from any cause shall be immediately repaired and shall not be used until repairs have been completed.

- Scaffolds shall not be loaded in excess of the working load for which they are intended.

- All load-carrying timber members of scaffold framing shall be a minimum of 1,500 fiber (stress grade).

- Nails or bolts used in the construction of scaffolds shall be of adequate size and in sufficient numbers at each connection to develop the designed strength of the scaffolds. Nails shall not be subjected to a straight pull and shall be driven full length.

- All planking or platforms shall be overlapped (minimum 12 inches) or secured from movement.

- An access ladder or equivalent safe access shall be provided.

- Scaffold planks shall extend over their end supports not less than 6 inches nor more than 18 inches.

- Employees shall not work on scaffolds during storms or high winds.

- Tools, materials, and debris shall not be allowed to accumulate in quantities to cause hazard.

- Wire or fiber rope used for scaffold suspension shall be capable of supporting at least six times the intended load.

- OSHA has determined a 10 - foot fall protection for scaffolding.

- Scaffolds cannot be erected, used, closer than 10 feet (3.1m) near energized power lines. (from 300 v to 50 kv).

- OSHA requires that scaffolding must always be secure when height of the scaffold exceeds four (4) times the minimum base width.

- Tube and Coupler Scaffolds:

- A light-duty tube and coupler scaffold shall have all posts, bearers, runners, and bracing of nominal 2-inch O.D. steel tubing. The posts shall be spaced no more than 6 feet apart by 10 feet along the length of the scaffold.

- A medium-duty tube and coupler scaffold shall have all posts, runners, and bracing of nominal 2-inch O.D. steel tubing. Posts spaced not more than 6 feet apart by 8 feet along the length of the scaffold.

- A heavy-duty tube and coupler scaffold shall have all posts, runners, and bracing of nominal 2-inch O.D. steel tubing, with the posts spaced not more than 6 feet apart by 6 feet 6 inches along the length of the scaffold.

- All tube and coupler scaffolds shall be constructed and erected to support four times the maximum intended loads.

- The entire scaffold shall be tied to and securely braced against the building at intervals not to exceed 30 feet horizontally and 26 feet vertically.

- Guardrails not less than 2x4 inches or the equivalent and not less than 36 inches or more than 42 inches high, with a mid-rail and toe   boaeds, shall be installed at all open sides on all scaffolds more than 10 feet above the ground or floor. Toe boards shall be a minimum of 4 inches in height.

- Tubular welded frame scaffolds:

- Metal tubular frame scaffolds, including accessories such as braces, brackets, trusses, screw legs, ladders, etc., shall be designed and proved to safely support four times the maximum intended load.

- Scaffold legs shall be set on adjustable bases or plain bases placed on mud sills or other foundations adequate to support the maximum intended load.

- Guardrails not less than 2x4 inches or the equivalent and not less than 36 inches or more than 42 inches high, with a mid-rail, and toeboards, shall be installed at all open sides on all scaffolds more than 10 feet above the ground or floor. Toeboards shall be a minimum of 4 inches in height.

- All tubular metal scaffolds shall be constructed and erected to support four times the maximum intended loads.

- To prevent movement, the scaffold shall be secured to the building or structure at intervals not to exceed 30 feet horizontally and 26 feet vertically.

FOUNDATIONS/SILLS

The strength and stability of a scaffold is as dependent on the foundation it bears on as the scaffold itself. Many accidents involving scaffold collapses are due to poor foundations.

Foundations capable of carrying the desired load must be provided. Base plates must be placed under all legs. They must be securely fixed if there is potential for lateral movement.

When soil conditions are poor or frozen, it may be necessary to excavate the poor soil and replace it with good compacted material.

It is recommended to use a mudsill which is continuous under both legs of the scaffold. The sill should be such that it extends at least 9” past the centerline of the leg and be of 2” x 10” lumber.

BRACING

The position and number of braces used on a scaffold not only restricts the amount of side movement, but also determines the strength of the scaffold.

The normal interval is every lock spacing with a frame scaffold and every 6’ – 6” for tube and coupler or system scaffold.

TIES

It is essential that every scaffold be adequately tied to the building structure throughout its entire length and height. If not, collapse of the scaffold will occur. Ties have dual purpose, they control the overall stability of the scaffold from forces such as wind loads and most importantly, brace the legs.

Rules:

General rules for ties are:

- All ties should be fixed with load bearing couplers.

- The bottom tie must be placed no higher than four (4) times the minimum base width and every 26 feet vertically thereafter.

- The entire scaffold shall be ties to and securely braced against the building at intervals not to exceed 30 feet horizontally and 26 feet vertically or as recommended by the manufacturer.

- Ties should be as close as possible to the junction of the standard and ledger.

- At least 50% of ties should be ‘positive’, that is, they do not get their strength from friction as in the case with the reveal ties.

Common Methods of Tying are:

- Through Ties (Positive Type)

A tube is taken through any convenient opening, such as a window, and coupled to vertical or horizontal tubes.

- Reveal Ties (Not Positive)

A tube is wedged into an opening in the wall by means of ‘Reveal Pin’. A second tube is then fixed between this tube and the scaffold to form the tie. The reveal pin normally consists of a piece of tube with a base plate at one end and a screw jack at the other.

- Box Ties (Positive Ties)

This tie can be used if there are columns close to the scaffold. Tie tubes run both sides of the column, with cross tubes tied back and front to both tie tubes.

- Anchor Bolt (Positive Type)

There are many types of anchors available. They do however, vary in pull out strength and they leave a hole behind which has to be repaired. A pull out force of at least 800 lbs, 1200 lbs, and 1600 lbs, is necessary for light, medium and heavy duty scaffolds respectively.

PLANKING

- Wood scaffold planks should be nominal 2” x 10” (actual 1 ½ x 9 ¼”) and should be “Scaffold Plank Grade”.

- The maximum span for wood planks should not exceed 8’. A span of 8’ is rated for 25 pounds per square foot maximum. A span of 6’ is rated for 50 pounds per square foot maximum.

- Planking should extend a minimum of 6 inches (15 cm) over the center of each support (unless cleated to prevent the plank from sliding) and a maximum of  12 inches (30 cm).

- Gaps between adjacent planks or toeboards should not exceed 1”.

- Where necessary to place planks at an angle other than horizontal, a for ramps or elevation changes of the platform for work on variable-height ceilings, any slope greater than 1:10 should have cleats nailed 12” apart to the tops of the planks.

- Each scaffold walkway shall be at least 18 inches (45 cm) wide.

- The front edge of all platforms shall not be more than 14 inches (35 cm) from the face of the work, unless guardrail systems are erected along the front edge and/or personnel fall arrest systems are used.

- Platform shall not deflect more than 1/60 of the span when loaded.

LOADS

Load Capacity

The maximum load capacity of a scaffold is determined by computing the maximum load being applied to the various components of the scaffold structure and ensuring these are less than the manufacturer’s recommendations.

O.S.H.A. requires that a scaffold be designed with a 4 to 1 safety factor. This safety factor should be included in the maximum load capacities recommended by the manufacturer.

- The use of the scaffold is being put to OSHA defines the design load to be applied to each working level depending on use.

- Light Duty – 25 pounds per square foot of work platform. This is for trades such as painting, window cleaning, etc.

- Medium Duty – 50 pounds per square foot of work platform for trades such as plastering, etc.

- Heavy Duty – 75 pounds per square foot of work platform for trades such as masons, stone setters, etc., where heavy material loads will be put on the work platform.

These loads must then be appointed to the structure depending on the area of the platform.

- The number or work platforms which will be used simultaneously above each other. The sum of the loads per working platform must then be added and applied to the structure.

- The height of the scaffold. The self-weight of all components of the scaffold must be added.

Total Load Applied

The total load applied is the sum of the working platform loads plus the self-weight of the scaffold. (dead load + live load)

Material loads should be evenly distributed on platforms and not concentrated in one small area.

*************************************************************