# SECTION 10 - CONFINED SPACES SAFETY

# NO. 29  WORKING IN CONFINED SPACES

Every year there are a number of fatal and serious accidents caused by persons being allowed to enter live sewers, manholes, bored piles, trenches, tanks and so on without the necessary tests being carried out or the correct safety rescue equipment being provided.

Many of these accidents would have been avoided if supervising staff and operatives had been properly trained and the work carried out on a Permit-to-Work system. People engaged on such operations must be physically and mentally suitable and properly trained for the job.

The following checklist is a reminder:-

- Dangerous atmospheres can arise when there is a lack of oxygen or when toxic or flammable gases are present.

- In no circumstances should you enter a confined space (trench, manhole, tank, bored pile, foul sewer) without instructions from the supervisor.

- Equipment for testing the atmosphere before you enter and at regular intervals must be provided and used by a competent person.  You must not enter the confined space until he is satisfied that entry is safe.  Testing must continue while you are working inside, and you must leave immediately if told to do so.

- Adequate fresh air ventilation must be provided in appropriate circumstances.

- All necessary safety and rescue equipment must be available on site at the actual location.

- Make sure that you have been trained in the use of the safety and rescue equipment by a competent person.

- Wear the protective clothing provided.

- Do not eat, drink or smoke.

- Wash your hands at the end of each shift.

- If you are entering a sewer make sure you are given a Weil’s Disease card